TECHNICAL SPECIFICATIONS	SECURITY SYSTEM
DIVISION – 28 ELECTRONIC SAFETY AND SECURITY
LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE
LEVEL 2__28 23 00 VIDEO SURVEILLANCE
LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 - PRODUCTS
2.01	 GENERAL
A.	This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001 (2008)
B.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.
C.	All systems and components shall have been thoroughly tested and proven in actual use.
D.	All equipment shall be new, corrosion resistant and in strict accordance with the details shown on the plans and in the specifications.
E.	All materials furnished under this item shall be compliant with 802.3 Ethernet standards 
F.	All encoders and decoders shall be of the same manufacturer.
G.	All systems and components shall be provided with comprehensive repair and spare parts replacement. The manufacturer on warranty and non-warranty items shall guarantee the spare parts and the repair.

2.02 	SINGLE CHANNEL DECODER
A.	The S-60 D –MC is a single channel decoder  providing one (1) video channel output, bi-directional transmission of up to two (2) audio channels, terminal server operation for two (2) RS data channels, and two (2) contact closures over 10/100BASE-TX or 100BASE-FX Ethernet network
B.	The single channel decoder shall be available in either a stand-alone enclosure or as a module which is installed in a 19” wide 3RU chassis.  
C.	The single channel decoder shall provide the ability to be field upgradeable from a stand-alone version to a rack-mountable version as well as from a rack-mountable version to a stand-alone version. 
D.	The 19” Rack Enclosure shall support a wide range of modules including but not limited to single channel decoders, single channel encoders, multi-channel encoders, single channel decoders, multi-channel decoders, Ethernet switches and fiber transmission modules.
E.	The single channel decoder shall have an operational temperature of – 10 to +60 degrees Celsius and humidity 95% (non-condensing) without using fans or any other moving parts.
F.	The single channel decoder is a multi-codec decoder capable of automatic format detection and decoding of H.264, MPEG-4, and MPEG-2 streams, with resolution and frame rate following the encoder settings. 
G.	The single channel decoder shall create a stand-alone, point-to-point IP based system when paired with a compatible H.264/MPEG-4/MPEG-2 encoder without the need of a PC. 
H.	The single channel decoder shall provide bi-directional serial data interface to transmit control data, for example PTZ control, via a RS-232, RS-422 or RS-485 serial port.
I.	The single channel decoder shall provide stereo CD quality audio. In addition, the audio inputs/outputs shall be balanced and be suitable for all industrial audio system applications.
J.	 The single channel decoder shall be able to transmit up to three independent copies of audio signal pairs (one pair in one stream), up to three copies of each of two independent data signals, and up to three copies of each of two independent contact closure signals, each stream having an independently selectable IP destination.
K.	The single channel decoder shall support streaming over RTP/UDP/IP for audio, multicast and unicast connections. 
L.	The single channel decoder shall provide a full featured web interface for configuration as well as a Live View (MJPEG) encoder for live viewing of the connected video stream. 
M.	The user shall be able to remotely reboot the unit, reboot the unit and return the setting to factory defaults leaving the network setting unchanged, or reboot the unit and restore all setting to factory defaults.  
N.	The single channel decoder shall provide status and measurement information via the web interface. Status shall include but not be limited to video and audio real-time streaming state. Measurements shall include codec board current and peak temperatures, network tx/rx bit rates, CPU and DSP loading, real-time video bit, frame rates and latency, audio sample rate FTP push status and PTZ coordinates.
O.	The single channel decoder shall support a minimum of 4 levels of password protected access with 3 distinct levels of web page access including administrator, operator and viewer. In addition, the operating system (Linux kernel) shall have configurable root pass code protection with no back door access.
P.	The single channel decoder is based on open streaming architecture (OSA) standards (API) and shall operate in a TKH Security environment as well as in third-party software recording solutions
Q.	The single channel decoder shall provide an option for a small form-factor pluggable (SFP) interface. This SFP interface shall provide for direct fiber interface and support a wide range of SFP fiber modules including Single Mode, Multi-mode and CWDM.
R.	The single channel decoder shall support an FTP Push function.  The FTP Push function shall enable the Live View encoder to send a jpeg image to a specified client location at user specified intervals, or on user configurable encoder events.  
S.	The single channel decoder shall provide event management for sending events to a contact closure stream or an FTP push. Supported event triggers shall include event on, off or changed. Events shall include video, audio, and contact closure events.
T.	The web interface shall provide the ability to load firmware remotely to the device. 
U.	The single channel decoder shall automatically re-establish a connection to another device with an IP address after a network connection is restored or the re-powering of the unit.
V.	The single channel decoder shall meet or exceed the following design and performance specifications.

2.03	ELECTRICAL SPECIFICATIONS
A.	Network interface 				100Base-TX RJ-45 or SFP Interface option		
B.	Cabling					Cat-5 Cable or better for 100Base-TX
C.	Video Output				BNC, 75 ohm, Gold plated center pin
D.	Video Output Impedance			75 ohm 
E.	Power consumption				5W max.
F.	Input Power				11 -19 VDC (12VDC nominal)
G.	Audio In/Out				RJ-45
H.	Alarm Inputs- 2				RJ-45
I.	Alarm Outputs -2 				RJ-45
J.	LED Status indicators 			Power, Video, Sync (3 colors), Ethernet /activity

2.04  	VIDEO SPECIFICATIONS
A.	Video Channels			1 Channel, 
B.	Video Output  format			Auto detect/NTSC/PAL;  Interlaced 
C.	Output Level			1 Vp-p (+/- 3 dB); Color or B/W	
D.	Frame rate			1 - 30 frames per second (fps)
E.	Compression algorithm	H.264 BP (ISO/IEC  14496-10); MPEG-4 SP Layer 5 	(ISO/IEC  14496-2); MPEG-2 (ISO/IEC 13818-2), MJPEG 
F.	Network protocol	H.264 BP, MPEG-4 ES, MPEG-2,  RTP, UDP, IP, DHCP, SSM,  IGMP v2, RTSP, (S)NTP, SDP, MX/IP, HTTP, SNMP v2, DiffServ, SAP, UPnP, FTP, Telnet
G.	Supported Resolutions (From encoder)
a.	D1
i.	NTSC			720x480
ii.	PAL				720x576
b.	2/3 D1
i.	NTSC			480x480
ii.	PAL 			480x576
c.	½ D1
i.	NTSC			352x480
ii.	PAL				352x576
d.	2CIF
i.	NTSC			720x240
ii.	PAL				720x288
e.	VGA
i.	NTSC/PAL			640x480
f.	CIF
i.	NTSC			352x240
ii.	PAL				350x288
g.	QVGA
i.	NTSC/PAL			320x240
h.	QCIF
i.	NTSC			176x120
ii.	PAL				176x144
H.	Type of streaming		RTP/UDP/IP, (multicast and/or unicast); 
I.	On-screen display (OSD)			3x text lines (configurable: position, color, transparency, 			border/outline color, font size);1x image in BMP, GIP, or 			JPEG format (configurable: position, scaling)
J.	User levels		Support up to 4 levels – viewer, operator and administrator with rights ranging from view webpage video only to full administration, and “root” for the Linux prompt.

2.05	AUDIO
A.	Two-way audio				1 full duplex stereo audio ports  or 2 Full duplex mono
B.	Sampling Resolution			8/16 bit linear PCM or ITU G.711
C.	Max. Bandwidth				20hz to 20kHz
D.	Input Level					Adjustable, mic or line 
E.	Output Level				Adjustable, 3 VRMS max.
F.	Input Impedance				>20kOhm or 600 Ohm balanced
G.	Output Impedance				<100Ohm Balanced	
H.	Transport					RTP/UDP/IP multicast and unicast
I.	Transmission				Up to 3 independent copies of audio signal pairs with 							each stream having an independently  selectable IP 							destination    

2.06	CONTACT CLOSURES
A.	Alarm input 				2 contact closure inputs, normally open (fail-safe)
B.	Operational modes				Normal, inverted, forced active or forced inactive
C.	Sampling rates				contact closure shall be sampled 100 times per second 							and provide latency of less than 20 msec.
D.	Transport					 TCP and UDP (unicast or multicast),
E.	Transmission				Independently selectable IP destination and port 							number.
F.	Alarm output				2 contact closure outputs, fail-safe, potential fee
G.	Remote Control				HTTP API (OSA)

2.07 	DATA
A.	Data Ports 					2 Serial, full duplex ports 
a.	Port 1					Selectable EIA RS-422 and EIA RS-485. (2 or 4 wire) 
b.	Port 2 					Configured to EIA RS-232. 
B.	Operation					UART operation. 
C.	Data Rate 					300bps to 230.4 kbps. 
D.	Transport					TCP (compatible with terminal servers) and UDP (unicast 							or multicast), 
E.	Transmission 				Independently configurable destination IP address and 								port number.

2.08	MECHANICAL SPECIFICATIONS
A.	Dimensions					128 x 34 x 190 mm (5.04 x 1.34 x 7.5 in.)
B.	Weight					450g (15.80 oz.)
C.	Housing					Aluminum, Rack or standalone
D.	Color					Black

2.09	NETWORK SPECIFICATIONS
A.	RJ45					10/100BASE-TX, CAT-5
B.	SFP						100Base FX, SFP (fiber or copper)
C.	Management				OSA HTTP API, MX, SNMP v2, HTML (password 							protected); 

2.10	ENVIRONMENTAL SPECIFICATIONS
A.	Operating temperature			14 to +140 degrees F (-10 to +60 degrees C)
B.	Humidity					 to 95% RH, non-condensing
C.	MTBF					>200,000 hrs

2.11	CERTIFICATIONS AND RATINGS
A.	IEC/EN 60950-1
B.	IEC/EN 60825
C.	IEC/EN 61000
D.	CE
E.	FCC 
F.	RoHS

2.12	MANUFACTURER’S WARRANTY
A.	Repair or replacement of defective parts for a period of 3 years from date of shipment.

 2.13	MODELS
A.	Single channel decoder, Rack Mount		S-60 D-MC
B.	Single channel decoder w/SFP Interface		S-60 D-MC-SFP	
C.	Single channel decoder, Stand alone			S-60 D-MC /SA
D.	Single channel decoder w/SFP Interface, SA	 	S-60 D-MC-SFP/SA
E.	Rack mount Cabinets
a.	MC 11 AC-230					Power supply cabinet, 19”/3 RU
b.	MC 11 AC-115					Power supply cabinet, 19”/3 RU
c.	MC 11 AC-230 /EB-2				Power supply cabinet with SNM management   							interface, 19”/3 RU
d.	MC 11 AC-115 /EB-2				Power supply cabinet with SNM management  							interface, 19”/3 RU
e.	MC 10 AC-230 /EB-2				Dual power supply cabinet with SNM                      Management, 19”/3 RU
f.	MC 10 AC-115 /EB-2				Dual power supply cabinet with SNM management, 19”/3 RU
g.	MC 11 DC-24V					Redundant DC power supply cabinet, 19”/3 RU